Singapore – a holistic approach to sustainability

D. A. Lloyd Owen

Envisager Limited, Trewindsor Farm, Llangoedmor, Ceredigion, SA43 2LN, UK

(E-mail: david@envisager.co.uk)

Abstract

Singapore’s water and sewerage services have been developed to serve the country’s unique circumstances. This involves a series of long term interplays between the need for sustainable water management, appropriate water and wastewater services for a fully developed economy and water capture and management systems for self-sufficiency in a particularly water scarce area.

Keywords

Demand and supply management, sustainability, self-sufficiency, scarcity

Introduction – political and management context

When Singapore seceded from Malaysia in 1965, it had emerged from major droughts in 1961-62 and 1963-64, which had underlined its dependence on imported water from Johor. Such a state of affairs left the country vulnerable to political interference since as noted by Tunku Abdul Rahman, Malaysia’s Prime Minister in 1965 “if Singapore’s foreign policy is prejudicial to Malaysia’s interests we could always bring pressure to bear on them by threatening to turn off the water in Johor” (Luan, 2010). Singapore imports water from Malaysia under two agreements – the 1961 and 1962 Water Agreements.  The first Water Agreement with Malaysia will expire on 31 August 2011. The second Water Agreement will expire in 2061. How has Singapore sought to transcend its dependence on water from Malaysia?

The Public Utilities Board (PUB) was founded in 1963 to manage the city state’s utilities (water, power and piped gas) and from 2001 it has been solely responsible for Singapore’s water, drainage and wastewater services. During this period, it has developed the most advanced and comprehensive water management systems in the world and potentially the first that manages water resources in an urban area in a manner which resembles the natural water cycle. This suggests that national, economic and environmental sustainability can be interlinked.

Water resources

While rainfall is plentiful at 2,400 mm per annum, Singapore’s 5.0 million people (2010) live in a territory comprising of 710 km2 of land. In theory, this equals approximately 1,700 million m3 of rainwater per annum or 314 m3 per capita before evapotranspiration and plant respiration let alone considering what water can in fact be put to productive use. In reality, Singapore had internal renewable water resources of 124 m3 per capita in 2008 against the UN Food & Agricultural Organization’s definition of official definitions of less than 500 m3 per capita equating to extreme water scarcity.

Developing the basic infrastructure

At independence in 1965 Singapore inherited a mixed infrastructure legacy. Household water coverage in the urban areas was already quite advanced, having varied between 70% and 95% between 1916 and 1936. Records then ceased to be available for some time but water coverage has been at 100% since 1987 and it is reasonable to assume they have been at least at the 90% coverage level since 1970 (Otaki, 2004).

Sewerage service development followed. 35% of the urban population had household piped sewerage in 1941, rising to 45% by 1965. Apart from nightsoil gathering, this meant that there were significant discharges of untreated sewage directly into rivers, which was exacerbated by a large number of pig and poultry farms (Choong, 2001). From the 1970s, farms discharging into river catchments have been closed and a comprehensive urban sewerage programme carried out, with access rising to 51% in 1970, 75% by 1980 and in January 1987 universal household sewerage was attained (Otaki, 2004).

Six centralised wastewater treatment works were developed since 1948, replacing a large number of local facilities as well as providing higher treatment standards (Gee, 1992). Sewage treatment capacity has expanded from 0.256 million m3 per day to secondary standard in 1960 to 0.544 by 1970 and 1.25  by 2000. Under the Sewerage and Drainage Act, all used municipal and industrial water has to go to a receiving sewer or to be suitably treated prior to discharge (Ong, 2010). The diversion of sewage from catchment basins has resulted in a marked improvement in river and reservoir water quality since 1977 (Khoo, 2009).

Infrastructure development and economic development

By 1990, the water and wastewater infrastructure in Singapore had reached the level expected in fully developed economies – with the comprehensive provision of household water and sewerage services. One of the arguments adopted by multilateral institutions such as the World Health Organization, World Bank, and the United Nations in support of water and sanitation infrastructure investment is that a modern water and sewerage network forms one of the pillars with which a developed economy can be built upon. How has Singapore’s water infrastructure and economy developed when compared with other countries in Asia and the United Kingdom?

Infrastructure and GNI per capita (atlas method, current US$)

| Year | Singapore | South Korea | Malaysia | India | UK |
| --- | --- | --- | --- | --- | --- |
| 1962 | 450 | 110 | 300 | 80 | - [1] |
| 1970 | 960 [1] | 270 | 400 | 110 | 2,230 [2] |
| 1980 | 4,910 [1] | 1,810 | 1,830 [1] | 270 | 8,510 [2] |
| 1990 | 12,050 [2] | 6,000 [1] | 2,390 [1] | 390 | 16,600[2] |
| 2000 | 23,350 [3] | 9,910 [1] | 3,450 [1] | 450 | 25,910 [3] |
| 2009 | 37,220 [3] | 19,830 [2] | 7,350 [1] | 1,180 | 41,370 [3] |

Key

[1] At least 90% urban households with water connection

[2] At least 90% urban households with piped sewerage

[3] At least 90% urban secondary sewage treatment

Data sources: GNI: World Development Indicators & Global Development Finance, World Bank, 15 December, 2010, Urban services: Adapted from the author’s water infrastructure database

Strict comparisons when looking at different countries need to take into account each country’s level of urbanisation as Singapore was 100% urbanised in 2008, compared with 89% for the UK, 81% for South Korea, 70% in Malaysia and 30% in India and consistent disaggregated urban – rural economic data is not available. Even so, it is evident that in Gross National Income terms, Singapore’s economic development has taken place at a time when it has its water and wastewater infrastructure was appreciably more extensive than in Malaysia, where the water and wastewater infrastructure have developed more slowly. India and South Korea also show similar trajectories of economic and water infrastructure development with Malaysia and Singapore respectively. Since 2000, Singapore’s GNI has been comparable with OECD member countries such as the United Kingdom, which have a fully developed water management system.

Water consumption (million m3 pa)

| Year | Domestic | Non-domestic | Total |
| --- | --- | --- | --- |
| 1960 | 40.79 | 58.69 | 99.48 |
| 1970 | 71.02 | 81.92 | 152.94 |
| 1980 | 113.48 | 103.09 | 216.57 |
| 1990 | 177.33 | 145.47 | 322.80 |
| 2000 | 241.39 | 204.10 | 455.49 |
| 2009 | 277.80 | 284.00 | 561.80 |

2009 data was broken down into domestic (277.8 million m3), non-domestic (190.1 million m3) NEWater (72.0 million m3) and industrial water (21.9 million m3).

Source: Ong (2005), MEWR (2010)

Since independence, Singapore’s population has grown by 2.5 times, water use by 5 times and its GDP by 26 times (Khoo, 2009). While overall water use per capita has therefore doubled, GDP generated per unit of water consumption grew by 5.2 times.

Beyond development – towards sustainability

Singapore regards its water supplies coming from ‘Four National Taps’ namely water from its own catchment, water imported from Johor, desalinated water and wastewater recovery (NEWater).

Catchment management and optimisation

Being a compact, densely populated island, Singapore will always be faced with scarce renewable water resources. Expanding the area of the island that can form a part of its actively managed catchment from 50% to 90% will enable catchment water to maintain its proportion of overall water inputs.

Source: Adapted from Ong (2005) and PUB (2010b)

National circumstances can have intentional and unintentional consequences. Comprehensive sewerage and sewage treatment can improve the quality of life in a densely populated city state by optimising the amount and quality of green and riverside space available, eliminating odour problems in private and public areas and ensuring universal and easy access to lavatories. In Singapore the 2009 ABC Waters Programme aims to take this further by transforming rainwater and river catchments into areas that are Active (promote community interaction with water resources), Beautiful (go from functional benefits to aesthetic benefits) and Clean (optimise the catchment’s water retention and cleansing capacity).

Desalination and NEWater

NEWater, the process of recovering water from wastewater is not quite as new as it appears. The first trial took place in 1974-75, but was ended due to cost (S$ 7-8 per 1,000 gallons at the time) and reliability concerns and was reconsidered again in 1988. The current NEWater programme stems from 1999 with a pilot plant being commissioned that year. The potential for NEWater stems from the comprehensive sewerage infrastructure, since 80-85% of water supplied by PUB in 1994 was collected in the sewerage system (Choong, 2001).

NEWater and desalination facilities, 2001-13 (m3 per day)

| Bedok & Kranji NEWater (2001-11) | 159,000 |
| --- | --- |
| Seletar NEWater (2004) | 17,000 |
| Ulu Pandan NEWater (2007) | 147,200 |
| Changi NEWater (2010) | 230,000 |
| Tuas First desalination (2005) | 136,000 |
| Tuas Second desalination (2013) | 318,500 |

Source: PUB Annual Reports and Press Releases

From sewage treatment to water reclamation

Renaming a sewage treatment work water reclamation plant is not a re-branding exercise but a fundamental shift in wastewater management. Instead of seeing wastewater as a source of public and environmental harm, it is to be regarded as a potential resource. PUB aims to replace its  six water reclamation facilities in use at the start of 2000 (capacity of 1.25 million m3 per day) with two major facilities (long term capacity of 4.200 million m3 per day) linked by DTSS, the Deep Tunnel Sewerage System. To this end, the sewage treatment works at Kim Chuan was closed in 2008 followed by Bedok in 2009 and Seleatr will be closed in 2011. Half of Singapore’s sewage  is now mainly treated at Changi (opened in 2009, 800,000 m3 per day, to be expanded to 860,000 m3 per day from 2013). Centralising these facilities from six to two will release land for other high value uses, since sewage treatment works typically have a buffer zone round them in order to avoid potential odour issues. Approximately 200 Ha of land is being released for other uses as a result.

Indirect potable applications of NEWater stem from the ‘magic mile’ whereby there is general public acceptance of abstracting treated effluent after it has been discharged into a surface water source such as a river or lake. Currently, 41,000 m3 per day is being supplied for indirect potable use and 154,000 m3 day direct for non-potable use by industrial customers. The NEWater fee, currently at $1.10 / m3 is cheaper than potable water supplied by PUB.

Building public understanding and support

Sustainable water management is usually seen as a low priority in urban societies. This is due to the lack of public awareness about the needs for appropriate investment, how their water usage affects water resources and about the applicability of various water sources. In Singapore’s case, the need for self-sufficiency have resulted in a high degree of public understanding and acceptance.

Network efficiency and demand management

Implementing demand management has been allied with minimisingunaccounted-for-water (UFW). UFW was  low at 11% in 1984 by global standards, but they have further improved since then to about 5% as PUB adopts a holistic approach to Integrated Water Network Management. This comprises both the hardware and the software necessary to ensure the integrity of the water supply network. Hardware refers to the technical and legislative aspects of network management; software refers to our approach of partnering the public to ensure that any deficiencies in the network can be tackled quickly. The key components of the Integrated Water Network Management System are broadly categorised as:

- Good quality network and efficient management

For new networks, PUB ensures that they are made of good quality materials and fittings. For existing networks, PUB has put in place a pipeline replacement programme to upgrade and renew the existing network.

- Active leakage controls

To curb water wastage due to leaks in the transmission and distribution system, comprehensive leak detection work is carried out for all mains in the system.

- Accurate metering practices

In Singapore, the entire water supply system from waterworks to customers’ premises is metered to account for usage and to bill customers.

- Strict legislation on illegal draw-offs

There have been very few cases of illegal or unauthorized draw-offs in Singapore. This can be attributed to legislation on illegal draw-offs.  Anyone found responsible for carrying out an illegal draw-off can be fined under the Public Utilities Act up to S$50,000 and / or to imprisonment for up to 3 years and, in the case of continuing offence, to a further fine not exceeding S$ 2,500 for every day or part thereof during which the offence continues after conviction.

- Customer relationship management

PUB manages all feedback from customers, including water, drainage and sewerage issues, through a central service centre, PUB One, which, based on the nature of feedback, allocates the cases to different response centres, and particularly for water related issues, to the Water Services and Operations Centre to respond promptly to any water related cases, especially for leakages.

Unaccounted-for-water

| 1984 | 11.0% |
| --- | --- |
| 1989 | 10.6% |
| 1990 | 9.5% |
| 1995 | 6.2% |
| 2000 | 5.2% |
| 2005 | 4.7% |
| 2008 | 4.4% |
| 2009 | 4.6% |

Sources: Khoo (2009) and PUB (2010b)

# Berlin Wasser, serving the city of Berlin in Germany has a modern and compact water distribution system, with distribution losses of 2.9% in 2008. This suggests that a long term ideal range for distribution losses in Singapore would be 2.5-4.0%. This compares with distribution losses of 7% to 15% amongst utilities regarded as being good performers in England and Germany.

The installation of low capacity flushing cisterns (LCFCs) that used less than 4.5 litres of water per flush was carried out in all public housing units since 1992. This was then made mandatory for all new and ongoing building projects, including all residential premises, hotels, commercial buildings and industrial establishments in 1997. Following that, the use of dual flush low capacity flushing cisterns has been mandated since July 2009.  Water fittings including taps and mixers, flushing cisterns, urinal flush valves and waterless urinals had to carry water efficiency labels from 2009 and higher efficiency standards are being applied, so that a household can save 2,600 litres per annum by using a ‘three tick’ rather than a ‘one tick’ standard LCFC. Several public exercises have been carried out to reduce domestic consumption: In 1995-98 there were three Save Water Campaigns, followed by the Water Efficient Homes programme which was launched in 2003 and  the 10-Litre Challenge which was introduced in 2006. As part of its ongoing efforts to get people to use water wisely, PUB has rolled out a series of television advertisements and other initiatives including water audit projects by students, water conservation training by maid agencies as well as revamped water saving kits to remind the public about the importance of making water conservation a way of life under its 2011’s Water Conservation Awareness Programme. In the 1980s, water tariffs for most domestic customers were subsidised by non-domestic customers. Despite a water conservation tax and waterborne fee being introduced in 1991, per capita consumption rose from 155 l/c/day in 1989 to 176 in 1994 in part due to increased affluence and the growing availability of dish and clothes washers (and that the 1st 20 cu m of water consumed water exempted from water conservation tax). Tariffs were reformed in 1997 through a series of four annual changes to remove the subsidies for domestic usage. Bills have components, the volumetric water tariff, a water conservation tax (WCT) levied on the water bill and a volumetric waterborne fee (WBF) and Sanitary Appliance Fee of $3 per sanitary fitting to offset the sewerage costs.

Singapore’s water tariffs (S$)

|  | 1995-97 |  |  | July 2000 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| M3 per month | Tariff (c/m3) | WCT (%) | WBF (c/m3) | Tariff (c/m3) | WCT (%) | WBF (c/m3) |
| Domestic – 0 to 20 | 56 | 0 | 10 | 117 | 30 | 30 |
| Domestic – 20 to 40 | 80 | 15 | 10 | 117 | 30 | 30 |
| Domestic – Above 40 | 117 | 15 | 10 | 140 | 45 | 30 |
| Non-domestic (all volume) | 117 | 20 | 22 | 117 | 30 | 60 |

Source: Tortajada (2006).

Along with the tariff rebalancing, a series of targets were set, with water use falling from 176 l/c/day in 1994 to 165 in 2002, which was met, along with the 156 l/c/day in 2008. The 155 l/c/day target for 2012 was in fact met in 2009. Future targets are for 147 l/c/day by 2020 and 140 l/c/day by 2030. The average monthly bill rose from S$5 in 1980 to S$14.5 in 1996 and S$31 in 2000 as a result of tariff changes and increased consumption, falling to S$29.4 in 2004 due to lower consumption (Tortajada, 2006).

Further fine tuning of water usage and the continual improvement in device efficiency have the potential to drive water usage further down. In Germany, water use is 122 l/c/day, while the Masdar City project in the United Arab Emirates aims to reduce domestic water use from a forecast 146 l/c/day to 80 l/c/day through a significant adoption of grey water for flushing and other non-potable applications.

PUB’s 2060 projections

It is assumed that the doubling of water demand represents an effective maximum figure, to ensure that supplies can be developed to meet all anticipated demand. The author believes that PUB’s assumptions have been developed with a significant margin for error to deal with uncertainties such as population and industrial demand and will therefore be notably resilient. The assumption that the water reclamation facilities will be able to handle 4.20 million m3 per day in 2060 is evidence of this, given that total demand is forecast to be 3.45 million m3 per day by then.

PUB’s ‘Water For All’ projections

|  | 2010 | 2010 | 2020 | 2060 | 2060 |
| --- | --- | --- | --- | --- | --- |
| Demand |  | (m m3 pa) |  |  | (m m3 pa) |
| Domestic | 45% | 284 | - | 30% | 378 |
| Non-domestic | 55% | 347 | - | 70% | 881 |
| Supply |  |  |  |  |  |
| Imported (implied) | 40% | 253 | 25% | 0% | 0 |
| Local catchment (implied) | 20% | 126 | 20% | 20% | 252 |
| NEWater | 30% | 189 | 40% | 50% | 630 |
| Desalination | 10% | 63 | 25% | 30% | 378 |
| Catchment area | 50% |  | 67% | 90% |  |
| Total demand (m m3/day) | 1.73 | 631 | - | 3.45 | 1,259 |
| Use per capita (l/day) | 155 |  | 147 | 140 |  |

Source: Adapted from PUB (2010b)

Demand drivers - Population

One area of uncertainty here is projecting how large will Singapore’s population will be by 2060. The United Nations’ 2008 revision of the World Population Prospects forecasted a 5.2 million population by 2050 (falling from 5.4 million in 2025) which was revised to a peak of 6.1 million in 2040 in the 2010 revision, easing to 6.0 million by 2060 (UN ESA, 2011). Swee-Hock (2007) forecasts that a total population of 5.5 million in 2050 is feasible, but a 6.5 million population would be unlikely due to the number of newcomers and non-residents implied. The usage scenario used by PUB (2010b) has a forecast domestic demand of 1.035 million m3 per day (at 140 l/c/day) in 2060 against 0.779 million m3 per day in 2010 (at 155 l/c/day usage) implying a population of 7.4 million in 2060 against 5.0 million in 2010.

Demand drivers – industrial water

Industrial expansion, especially in areas such as silicon wafer fabrication is transforming non-domestic water usage patterns. In 1998-2001, 53-55% of water usage was domestic. This had fallen to 45% by 2009-10 and is expected to account for just 30% of total use by 2060. This is probably a maximum non-domestic usage scenario as Jia et al (2006) observe how industrial water usage has fallen in traditionally industrialised countries such as Japan and the United Kingdom as more water intensive activities are moved elsewhere. In Singapore’s case, Jia et al (2006) projects a peak usage of industrial water at 86% above 2000 levels. The scope for internal recovery and reuse of industrial process water and other methods for driving down non-domestic water consumption by 2060 may be substantial.

The economics of self sufficiency

PUB’s relationship with the private sector is unusual in that the utility has worked closely with many of the companies involved in the desalination and NEWater projects in product development and application as well as by purchasing goods and services from them. The first year fee of S$0.45 per m3 for the second desalination project is amongst the lowest recorded worldwide and is evidence that the PUB is able to secure best value contracts.

How much will these projects cost? In the case of indirect potable water use, the author’s assumed S$ 0.38 ($0.30) per m3 treatment cost is in addition to the standard potable water treatment cost. The current indirect potable usage at 41,000 m3 per annum works out at 15.0 million m3 per annum or S$5.7 million in addition to operating costs.

Schematic diagram of Singapore’s water resource flows in 2060

Indirect potable – reservoir recharge 		Transpiration & discharge

Discharge		Urban rainwater harvesting 			Rainfall

NEWater

Desalination

Catchment

Sea water

50%					30%			20%

Non potable		Potable			Potable 	Potable

Industrial 		Other			Domestic	Domestic

70%			Distribution loss		30%

Industrial			Evaporation				Domestic

& Other

Sewerage system

Distribution loss

As an illustrative example, not talking into account the costs of water / wastewater transport, using current prices and assuming that water normally costs S$0.25 per m3 to treat, desalinated water will cost S$0.32 per m3 more for a maximum demand of 378 million m3 pa or an extra S$121 million pa while NEWater will cost S$0.13 per m3 more for non-potable use for a maximum demand of 630 million m3 per annum or S$ 81 million per annum. These figures are based on an assumed 7.4 million people, so the cost of self sufficiency could work out at S$202 million pa or S$27 per person pa.

There is another side to self-sufficiency, that of a system’s robustness. It is probable that Singapore’s water resources will be amongst the most resilient globally in terms of dealing with challenges such as drought and climate change under the currently accepted scenarios.

Energy efficiency and new technology

Economic sustainability is also concerned with promoting innovation in technologies and techniques. The current and planned desalination and water reuse BDOO contracts run to approximately 2030-40. During this time, as part of routine maintenance and upgrading work, more efficient technologies can be incorporated. The new technologies mentioned will become commercial from approximately 2015 and this provides a useful lead-in time to prove their reliability and for their unit costs to fall. The technologies mentioned cover the main current advances, and there are further approaches at earlier stages of development which development which may be of value. These advances could also feed into enhancing the operational efficiency of the variable salinity plants and the NEWater facilities.

CONCLUSIONS

It is evident that each element in the sustainable management of Singapore’s water resources has been built upon previous infrastructure development. For example, water recovery would not work well without comprehensive sewerage and desalination would make limited sense unless distribution losses were low enough to reflect the increasing cost of using desalinated water. Since 1965, Singapore has consistently sought to align its water infrastructure with its broader interests. In that sense, the 2060 plans are logical continuation of what has happened previously and may serve as a pattern for imitation for other water utilities seeking to manage scarce resources in a responsible and sustainable manner.

Singapore has 50 years before water self-sufficiency may need to be a necessity. The need to develop a comprehensively integrated and robust water service justifies such long term planning. This also reflects the potential for innovation to further improve the economic, energy and operational efficiency of the techniques being deployed. The margins for error built into the demand assumptions means that PUB’s assertion that such a system can serve Singapore until at least 2100 is a reasonable one.

References

Choong K Y (2001) Natural Resource Management and Environmental Security in Southeast Asia: Case Study of Clean Water Supplies in Singapore. Paper No 15, Institute of Defence and Strategic Studies, Singapore

# Gee T E, Stratus (1992) Trends of Waste Management in Singapore in Chua T-E & Garces L R eds. (1992) Waste management in the coastal areas of the ASEAN region: roles of governments, banking institutions, donor agencies, private sector and communities. Proceedings of the conference on Waste Management in the Coastal Areas of the ASEAN Region, Singapore, 28-30 June 1991

Jia S et al (2006) Industrial Water Use Kuznets Curve: Evidence from Industrialized Countries and Implications for Developing Countries. Journal of Water Resources Planning and Management, Vol. 132, No. 3, 183-191, May 2006

Khoo T C (2009) Singapore Water: Yesterday, Today and Tomorrow. In Biswas, A K et al (eds.) Water Management in 2020 and Beyond. Springer-Verlag, Berlin, Germany

Lee P O (2005) Water Management Issues in Singapore. Paper presented at Water In Mainland Southeast Asia, 29 November 2005, Siem Reap, Cambodia

Luan I O B (2010) Singapore Water Management Policies and Practices. Water Resources Development, 26, 1, 65-80, March 2010

MEWR (2010) Key Environmental Statistics, Ministry of the Environment and Water Resources, Singapore

Ng H T (2003) Managing Singapore’s water demand for sustainability. Paper at Asia-Pacific Water Resources Management Challenges. Proceedings of APO International Symposium on Water Resources Management and Green Productivity, Singapore, 7-9 October \2003

Otaki Y (2004) Water systems and urban sanitation in Tokyo and Singapore during the 19th to 20th centuries. Paper read at the 6th International Summer Academy on Technology Studies. Deutschlandsberg, Austria, July 11 – 17, 2004

Ong I B L (2010) Singapore Water Management Policies and Practices. International Journal of Water Resources Development, 26, 1, 65-80

PUB (1999 – 2010a) Annual Reports, 1998 – 2009-10, Public Utilities Board, Singapore

PUB (2010b) Water For All, Public Utilities Board, Singapore

Swee-Hock S (2007) The Population of Singapore. Second edition, ISEAS Publishing, Singapore

Tortajada C (2006) Water Management in Singapore. Water Resources Development, Vol. 22, No. 2, 227–240, June 2006

UN ESA (2011) World Population Prospects 2010. http://esa.un.org/peps/Preliminary-Results/figures/figures_Total-Population_WPP2010-2008.htm (accessed 12th April 2011)